## Slide 1: Characterization of fibers flow using EIT: results from Coimbra pilot rig
DEEC/FCT
University of Coimbra
Portugal
Pedro Faia
24-26 October, 2012, Throndeim, Norway
COST Action - FP1005
joint
4nd MC/WG Meeting
4th ERCOFTAC SIG43 Workshop
“Fibre suspension flow modelling - a key for innovation and competitiveness in the pulp & paper industry”

## Slide 2: Presentation Outline
Brief Introduction.
Electrical Impedance Tomography.
Mathematical formulation.
Fiber-flow Tomography first tests.
Characterization of fibers flow using EIT: results from Coimbra pilot rig.

## Slide 3
Electrical Impedance Tomography overview
Characterization of fibers flow using EIT: results from Coimbra pilot rig.
In the development of accurate models for suspension related processes, prior knowledge of several flow characteristics is essential, such as spatial distribution of phases, flow regimen, interfacial area, and relative velocity between phases, amongst others.

## Slide 4
Complete Electrode Model (CEM)
Regularized Gauss-Newton algorithm
Characterization of fibers flow using EIT: results from Coimbra pilot rig.
Mathematical Formulation

## Slide 5
PILOT RIG overview
Characterization of fibers flow using EIT: results from Coimbra pilot rig.

## Slide 6
Characterization of fibers flow using EIT: results from Coimbra pilot rig.
EIT data protocols
Adjacent injection and measuring

## Slide 7
Characterization of fibers flow using EIT: results from Coimbra pilot rig.
Oposite injection and adjacent measuring
data collection
typical procedure
data collection experimental procedure
EIT data protocols

## Slide 8
Characterization of fibers flow using EIT: results from Coimbra pilot rig.
Some sensitivity results
Majourly Oposite injection and adjacent measuring was used;
For the flow rate 0 m3/h, Adjacent injection and measuring was used instead;
For the tests depicted, Eucaliptus short fibers, with a lenght of 0,706±0,03 mm, and with a concentration of ± 0.159 % (m/m) were used;
For all described tests a mesh with 2304 triângular elements and 1201 nodes was used (other parameters: contact impedance considered : 0,67 Ohm; applied injected current amplitude : 0,36 mA)

## Slide 9
Characterization of fibers flow using EIT: results from Coimbra pilot rig.
Constant flow testing
Two medium were used as references for the first tests: industrial water and water, both with similar conductivity 1197 mS (at 35 Cº); Inside rig section of 0.157 m2.
 | Exp 1 | Exp 2 | Exp 3 | Exp 4 | Exp 5 | Exp 6
Flow (m3/h) | 3,75 | 28,4 | 41,4 | 51,5 | 72 | 83,7
Temperature (ºC) | 28,3 | 29 | 29,5 | 30 | 30,3 | 31
Dif. Pressure (mm.H2O) | 4 | 61 | 124 | 189 | 364 | 488
Velocity (m/s) | 0,13 | 1,005 | 1,46 | 1,82 | 2,55 | 2,96

## Slide 10
Characterization of fibers flow using EIT: results from Coimbra pilot rig.
Constant flow testing
Water
28,4 (m3/h)
Industrial water
Water
3,75 (m3/h)
Industrial water

## Slide 11
Characterization of fibers flow using EIT: results from Coimbra pilot rig.
Constant flow testing
Water
51,5 (m3/h)
Water
41,4 (m3/h)
Industrial water
Industrial water

## Slide 12
Characterization of fibers flow using EIT: results from Coimbra pilot rig.
Constant flow testing
Water
83,7 (m3/h)
Water
72 (m3/h)
Industrial water
Industrial water

## Slide 13
Flow rate: 0 m3/h. Reference medium :water
Characterization of fibers flow using EIT: results from Coimbra pilot rig.
Stainless stell
Titanium
0 (m3/h)
Electrodes material comparison

## Slide 14
Characterization of fibers flow using EIT: results from Coimbra pilot rig.
Next steps
New batch’s of eucaliptus fibers with concentrations up to 3-4% will be used.
Other type of fibers, for instance pine, will be tested.

## Slide 15: Thank you for you attention
Characterization of fibers flow using EIT: results from Coimbra pilot rig.