## Slide 1: A Novel laboratory scale pipe rheometry
J. Salmela, S. Haavisto, J. Liukkonen
A. Jäsberg and A. Koponen
Technical Research Centre of Finland
COST Action FP 1005, Nancy 13-14 October 2011

## Slide 2: Motivation / Goal
Characterize rheological behavior of Microfibrillated cellulose suspensions
  Rheology and composition of Microfibrillated Cellulose (MFC) is very complex
Develop a well controlled flow environment
  Reliable
  Repeatable
  Scalable
  Low volumes
  High dynamic and viscosity range
  Allows flocculation
COST Action FP 1005, Nancy 13-14 October 2011
Notes: Still many MFC grades are difficult to get in large volumes
  MFC Pumping experiments in large scale are difficult
Traditional rheometers may be affected by flocculation
Results easy to interpret to processes

## Slide 3: Background
Rheology – a science of flow and deformation of matter
Most of traditional rheometers don’t work for flocculating or granular suspensions
In traditional rheology true velocity profile of the flow is not used
  This is compensated by using assumptions
COST Action FP 1005, Nancy 13-14 October 2011
Notes: Mitä oletuksia käytetään?

## Slide 4: Methods
Rheology in Pipe Flow:
COST Action FP 1005, Nancy 13-14 October 2011

## Slide 5: Apparent viscosity
Shear stress
Shear rate
Apparent viscosity
Capillary rheometer (Pipe Flow)
  Assuming laminar Newtonian flow
COST Action FP 1005, Nancy 13-14 October 2011

## Slide 6: Local viscosity UVP-PD + OCT Technique
Ultrasound Velocity Profiling, Optical Coherence Tomography and Pressure Difference
COST Action FP 1005, Nancy 13-14 October 2011
V
Z
UVP
x=at
Target particle
US Probe
OCT
V
Z

## Slide 7: OCT

## Slide 8: OCT

## Slide 9: OCT

## Slide 10: Local viscosity Data analysis
Calculation of local viscosity
Plug flow
region
Slip
velocity
Maximum
shear stress
Zero
shear stress
Local
shear rate
Boundary
layer
COST Action FP 1005, Nancy 13-14 October 2011

## Slide 11: What we need to parameterize the whole velocity profile?
Currently our groups have acces to non invasive measurement methods that enables direct measurement of the whole velocity profile of dence suspensions
Figure 6. Example of velocity profile and usability of different measurement methods.

## Slide 12: What we already have?
Floc size for different furnish and for different geometries
  Minimum floc size (after sudden pipe expansion)
  Location of minimum floc size (after sudden pipe expansion)
  Reflocculation rate

## Slide 13: Velocity Field Analysis
Two Consecutive Images
Image 1
Image 2
Instantaneous Flow Field
Average Flow Field
Notes: Explain:
Example images
Flow geometry
Pine suspension
Flocs dark and edges empasized
Displacement ~0.5 mm
Time btw. pulses 300 us
Instantaneous flow field
Average flow field

## Slide 14
Turbulent Intensity It
Dimensionless Floc Volume, V*f
2
3
1
Pulsed Light Source
1
2
3
Notes: Explain:
Graph (axis)
Camera
Light source
Two images
Instantaneous flow field
Average flow field
Change of position

## Slide 15: What we get from accurate velocity profile maesurement? (Only direct measurements no assumptions needed)
Shear viscosity
*
Yield stress (floc strength)
Lubrication layer
  Drag reduction
  Turbulence dissipation rate
Size of plug flow region

## Slide 16: What we need to do?
Definition of test geometries
  Sudden pipe contraction / expansion?
Validation of measurements and models using well known fluids
  Water
  Carbopol?
Definition of suspensions
  Birch
  Pine
  MFC?
Co-Operation

## Slide 17: Training school 2012
Preliminary schedule
  KTH
  Boat trip to Finland and train to Jyväskylä 
  Lectures
    Professor Risto Myllylä (University of Oulu): Principles of Optical Coherence Tomography
    Professor Markku Kataja (University of Jyväskylä): Use of X-Ray μ and nano Tomography to study structure and flow in porous media
  Hands on lab tour:
    Laboratory scale pipe rheometry: Use of OCT and UDV
    Optical measurement methods:
      High speed video imaging
      Floc size evolution measurements